Introduction

The purpose of a self-inspection program is to identify potential exposures which could result in an injury or damage to property.  If conducted on a regular basis, inspections will help to encourage safe work practices in the future as well as to reduce workers compensation, liability and property claims.

MIIA conducts facility inspections for our members from time to time in order to identify major concerns, however this inspection should be considered supplemental to your self-inspection program.

Program Requirements

This program requires quarterly inspections be conducted of all primary member facilities.  This includes facilities where there is high employee or pedestrian traffic.  All frequently used buildings should be included such as (Town Hall/Office Building, Schools, DPW Garages, Fire Stations, Police Stations, Libraries, Senior Centers, Water/Wastewater plants.)

Rewards Credits

-MIIA members will receive .25% property credit for each inspection conducted per department up to 1%.  (Ex. 3 inspections in DPW = .75%)

-A total of 2% property credit is available per member.

-The Rewards Coordinator and your Loss Control Representative will determine the amount of credit awarded. If an inspection is not completed thoroughly, full credit may not be awarded.  For example, when doing inspections, simply checking off a box without identifying and tracking corrective actions is not acceptable.

-If your entity is already doing these programs in some form, please submit a copy of the program along with inspection records to your Risk Management Representative who will determine if your program is eligible for MIIA Rewards credit.

Getting Started

Review the attached sample inspection checklists for applicability.  In order for the program to be effective, the checklists should be customized to reflect your entity’s specific facilities and exposures.  You may want to consider doing an inspection with the sample checklist provided and cross out what does not apply and add exposures that do.  Once corrective actions are completed, simply mark your initials next to the item on the inspection form.

Facilities/custodial personnel or a department representative who is familiar with the facilities and exposures should conduct inspections. This can also be an excellent exercise for a safety committee to perform in order to help familiarize themselves with facilities they may not spend a lot of time in. It can also be helpful to have a “different set of eyes” look for hazards since often times we can become complacent in the workplace.

Please contact your Risk Management Representative with any questions or if you need assistance with customizing your checklists.

Location: Parks Department

| Municipality: Date: |  |
| --- | --- |
| Address: | Name: |
| Exposure | Yes | No | N/A | Corrective action needed | Assigned to |
| Have fire extinguishers been inspected monthly and serviced annually |  |  |  |  |  |
| Are fire extinguishers accessible, clearly visible, reading a full charge and intact? |  |  |  |  |  |
| Have eye wash stations been inspected monthly? Are they accessible? |  |  |  |  |  |
| Is eye and face protection provided on equipment where operation presents a potential for an eye injury? |  |  |  |  |  |
| Is hearing protection provided and used where required? (Mowing) |  |  |  |  |  |
| Are chaps, face protection and foot protection used during chainsaw use? |  |  |  |  |  |
| Are discharge guards maintained on lawn mowers and snow blowers? |  |  |  |  |  |
| Are playgrounds and park areas inspected on a regular basis for vandalism and other hazards? |  |  |  |  |  |

| Exposure | Yes | No | N/A | Corrective action needed | Assigned to |
| --- | --- | --- | --- | --- | --- |
| Are compressed gas cylinders capped, secured and properly labeled? |  |  |  |  |  |
| Are extension cords safely insulated? Are cords stored in safe location as to not cause a trip hazard? Are cords used as permanent wiring? |  |  |  |  |  |
| Are electrical breaker panels/boxes clear and accessible with a minimum clearance of 36”? |  |  |  |  |  |
| Are walkways, stairs and egress routes clear as to avoid trip hazards? Is housekeeping maintained? |  |  |  |  |  |
| Are flammable and combustible chemicals stored in approved containers and cabinets? Are containers properly labeled? |  |  |  |  |  |
| Are Safety Data Sheets available for chemicals used? Are they clearly identified and accessible? |  |  |  |  |  |
| Are poison plant protection measures in place? (pre/post cream, PPE) |  |  |  |  |  |
| When mowing is high reflective vests worn close to roads? Do you mow with discharge side of mower away from roadway? |  |  |  |  |  |
| Are trailers and trucks inspected before use to ensure beds are secure? |  |  |  |  |  |
| Are seasonal staff trained on operation of equipment and safety policies? |  |  |  |  |  |
| Are insect identification training and control measures in place? |  |  |  |  |  |
| Is adequate lighting provided in working and access/egress areas? |  |  |  |  |  |

# Text boxes

Self-Inspection Guidelines